NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** Egypt **If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Egyptian Organization for Standardization and Quality 16 Tadreeb El-Modarrebeen St., Ameriya, Cairo – Egypt E-mail: eos@idsc.net.eg/eos.tbt@eos.org.eg Website: <http://www.eos.org.eg> Tel.: + (202) 22845528 Fax: + (202) 22845504**Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****],** **other****:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Incandescent lamps (ICS 29.140.20) |
| **5.** | **Title, number of pages and language(s) of the notified document:** Draft of Egyptian standard ES 5048 for "Tungsten filament lamps for domestic and similar general lighting purposes". (99 page(s), in English) |
| **6.** | **Description of content:** This draft standard specifies the safety and interchangeability requirements of tungsten filament incandescent lamps for general lighting service having:– rated wattage up to and including 200 W;– rated voltage of 50 V to 250 V inclusive;– bulbs of the A, B, C, G, M, P, PS, PAR or R shapes\*, or other bulb shapes where the lamps are intended to serve the same purpose as lamps with the foregoing bulb shapes;– bulbs with all kinds of finishes;– caps B15d, B22d, E12, E14, E17, E26\*\*, E26d, E26/50x39, E27 or E27/51x39.Worth mentioning is that this draft standard is technically identical with IEC 60432‑1:1999/AMD2:2011.  |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Safety requirements and consumer protection |
| **8.** | **Relevant documents:** * Ministerial Decree No. 94/2006
* IEC 60432-1:1999/AMD2:2011
 |
| **9.** | **Proposed date of adoption:** To be determined**Proposed date of entry into force:** To be determined |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [** **]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Egyptian Organization for Standardization and Quality Address: 16 Tadreeb El-Modarrebeen St., Ameriya, Cairo - EgyptE-mail: eos@idsc.net.eg/eos.tbt@eos.org.eg Website: <http://www.eos.org.eg> Tel: + (202) 22845528Fax: + (202) 22845504  |