NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** the State of Kuwait **If applicable, name of local government involved (Article 3.2 and 7.2):**  |
| **2.** | **Agency responsible:** Kuwait Standards & Metrology Department (KOWSMD) **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:** Public Authority for Industry (PAI)P.O. BOX: 4690, Safat13047 KuwaitTel.: +965 253 02 630Fax: +965 253 02 625E-mail: mailto:Enquiry\_point@pai.gov.kw Website: <http://www.pai.gov.kw> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****],** **other:**  |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** All products fall under scope of KWS GSO IEC 60669-2-1:2019 Switches for household and similar fixed electrical installations -Part 2-1: Particular requirements - Electronic switches ICS 29.120.40 |
| **5.** | **Title, number of pages and language(s) of the notified document:** Switches for household and similar fixed electrical installations -Part 2-1: Particular requirements - Electronic switches |
| **6.** | **Description of content:** Applies to electronic switches and to associated electronic extension units for household and similar fixed electrical installations either indoors or outdoors. It applies to electronic switches for a.c. only, for the operation of lamp circuits and the control of the brightness of lamps (dimmers) as well as the control of the speed of motors (for example, those used in ventilating fans) and for other purposes (for example, heating controls), with a rated voltage not exceeding 250 V and a rated current not exceeding 16 A. This eighth edition cancels and replaces the seventh edition published in 2008, Amendment 1:2011 and Amendment 2:2014 |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Protection of human health or safety |
| **8.** | **Relevant documents:** * IEC 60669-2-1:2002+AMD1:2008+AMD2:2015 CSV
 |
| **9.** | **Proposed date of adoption:** 3 March 2019**Proposed date of entry into force:** 1 September 2019 |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [** **]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:** Public Authority for Industry (PAI)P.O. BOX: 4690, Safat13047 KuwaitTel.: +965 253 02 630Fax: +965 253 02 625E-mail: mailto:Enquiry\_point@pai.gov.kw Website: <http://www.pai.gov.kw> |