NOTIFICATION

The following notification is being circulated in accordance with Article 10.6

|  |  |
| --- | --- |
| **1.** | **Notifying Member:** Thailand  **If applicable, name of local government involved (Article 3.2 and 7.2):** |
| **2.** | **Agency responsible:** Thai Industrial Standards Institute (TISI), Ministry of Industry  **Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above:**  WTO/TBT Enquiry Point and Notification Authority  Thai Industrial Standards Institute (TISI), Ministry of Industry  Tel.: (662) 202 3504, 202 3523  Fax: (662) 202 3511, 354 3041  E-mail: [thaitbt@tisi.mail.go.th](mailto:thaitbt@tisi.mail.go.th)  Website: <http://www.tisi.go.th> |
| **3.** | **Notified under Article 2.9.2 [****X],** **2.10.1 [****],** **5.6.2 [****],** **5.7.1 [****],** **other:** |
| **4.** | **Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable):** Ventilators. Fans. Air-conditioners (ICS 23.120) |
| **5.** | **Title, number of pages and language(s) of the notified document:** Draft Thai Industrial Standard for air–conditioner: Safety Requirement (TIS 1529 – 25XX(20XX)) (62 page(s), in Thai) |
| **6.** | **Description of content:** The Thai Industrial Standards Institute (TISI) has proposed a new mandatory standard onair–conditioner: Safety Requirement (TIS 1529 – 25XX (20XX)).  This draft standard covers the safety requirement of air-conditioners incorporating motor-compressors:  - maximum rated voltages not more than 250 V for single phase appliances  - maximum rated voltages not more than 600 V for poly phase appliances  - Partial units  - net total cooling capacity not more than 18 000 W  - not intended for normal household use but which nevertheless may be a source of danger to the public, such as appliances intended to be used by laymen in shops, in light industry and on farms  - may consist of one or more factory made assemblies  - containing flammable refrigerant |
| **7.** | **Objective and rationale, including the nature of urgent problems where applicable:** Safety and consumer protection; Protection of human health or safety; Other |
| **8.** | **Relevant documents:**   * IEC 60335-2-40: 2013 - Household and similar electrical appliances – Safety – Part 2-40: Particular requirements for electrical heat pumps, air conditioners and dehumidifiers * IEC 60335-2-40: 2013/AMD1: 2016 - Amendment 1 - Household and similar electrical appliances - Safety - Part 2-40: Particular requirements for electrical heat pumps, air-conditioners and dehumidifiers |
| **9.** | **Proposed date of adoption:** To be determined  **Proposed date of entry into force:** To be determined |
| **10.** | **Final date for comments:** 60 days from notification |
| **11.** | **Texts available from: National enquiry point [****X]** **or address, telephone and fax numbers and email and website addresses, if available, of other body:**  WTO/TBT Enquiry Point and Notification Authority  Thai Industrial Standards Institute  Tel: (66 2) 202 3504, 202 3523  Fax: (66 2) 202 3511, 354 3041  E-mail: [thaitbt@tisi.mail.go.th](mailto:thaitbt@tisi.mail.go.th)  Website: <http://www.tisi.go.th>  <https://members.wto.org/crnattachments/2019/TBT/THA/19_1754_00_x.pdf> |